APPENDIX C

TRANSIT AGENCY

FACILITY SAFETY and SECURITY ASSESSMENT

Complete this form semi-annually to identify potential safety hazards. It is imperative that the completion of this review includes only accurate and correct information – data collected from this assessment will guide agency resource allocation and focus priority needs appropriately. Not all questions will apply. If you have additional questions relevant to your agency, be sure to add those questions.

| Completed by: INSERT REVIEWER NAME | Date: INSERT DATE |
| --- | --- |

| SECTION | REVIEW QUESTIONS | YES | NO | N/A |
| --- | --- | --- | --- | --- |
| Buildings and Facility Grounds: | - Are facility grounds randomly and frequently patrolled? |  |  |  |
|  | - Are daily security sweeps conducted? |  |  |  |
|  | - Are smoke/fire/carbon monoxide detectors provided and working? |  |  |  |
|  | - Are distribution and number of keys known and controlled? |  |  |  |
|  | - Are all keys labeled as “DO NOT DUPLICATE”? |  |  |  |
|  | - Are all unoccupied areas locked and secured? |  |  |  |
| Lighting: | - Is entire perimeter of facility properly illuminated? |  |  |  |
|  | - Is lighting mounted at approximately second story level? |  |  |  |
|  | - Are lights provided over all entrance doors? |  |  |  |
|  | - Is lighting provided in staff parking areas? |  |  |  |
| Entrance Doors and Windows: | - Are all doors: |  |  |  |
|  | - Built of commercial grade with metal framing? |  |  |  |
|  | - Outside hinges hidden and protected from vandalism? |  |  |  |
|  | - Provided with a commercial grade, one-sided lock? |  |  |  |
|  | - Provided with push “panic” bar releases? |  |  |  |
|  | - In case of breakage or opening are all windows and doors connected to a central station alarm? |  |  |  |
| Electronic Surveillance: | - Is the entire perimeter of facility protected by a CCTV system? |  |  |  |
|  | - Is this system monitored by management and/or a security company? |  |  |  |
|  | - Is this system always on or activated by motion sensors? |  |  |  |
| Non-Employee Access: | - Is access restricted to persons without proper credentials and clearance? |  |  |  |
|  | - Are supply deliverers required to show proper I.D. and sign-in a log book? |  |  |  |
|  | - Are all non-employees accompanied and/or observable at all times? |  |  |  |
| Surrounding Environment: | - Are there other non-City/County buildings connected to the facility that may be vulnerable to unauthorized entry to City/County property? |  |  |  |
|  | - Are all utility components (power transformers, back-up generators) protected and secured from vandalism or attack? |  |  |  |
|  | - Are all outdoor storage areas adequately lighted and secured? |  |  |  |
| Material Storage: | - Are all hazardous and flammable materials properly identified? |  |  |  |
|  | - Are all materials properly labeled, stored, and secured? |  |  |  |
| Forms and Written Plans: | - Are emergency numbers (police, fire, ambulance, FBI) current and prominently displayed at each phone? |  |  |  |
|  | - Is a Chain of Command and emergency call list prominently displayed? |  |  |  |
|  | - Are employees trained and checklists provided on how to handle a physical threat or incident called in on the phone? |  |  |  |
| Evacuation Plan/Procedures | - Are there evacuation plans for this facility? |  |  |  |
|  | - Are staff members trained on this plan? |  |  |  |
|  | - Are assembly areas and alternate assembly areas identified, validated and coordinated with the County Emergency Management Office? |  |  |  |
|  | - Have the primary and alternate assembly areas, evacuation sites, and evacuation routes been verified and coordinated with all appropriate agencies? |  |  |  |
|  | - Has the Emergency Evacuation Plan been reviewed, coordinated, and briefed to staff as appropriate? |  |  |  |
| Training: | - Is an orientation program in place for each new staff member? |  |  |  |
|  | - Do all staff members receive safety and security training appropriate to their position and level of responsibility? |  |  |  |
|  | - Are periodic safety and security training and briefings completed with staff? |  |  |  |
|  | - Do all new staff members receive briefings on the City/County Evacuation Plan, the Disaster Preparedness Plan, and other security policies and procedures? |  |  |  |
| Administrative Procedures: | - Is a record of emergency data on file for each staff? |  |  |  |
|  | - Have incident reporting format and procedures been established and staff briefed on them? |  |  |  |
|  | - Are all incident reports treated with confidentiality and transmitted by secure means to the appropriate City/County department? |  |  |  |
|  | - Are background checks conducted and verified on all prospective new hires? |  |  |  |
| Cash Handling and Transfer: | - Has a secure method for receipt, transfer and storage of cash been established and have appropriate staff members been trained on them? |  |  |  |
|  | - Is cash transported by at least two individuals with cash divided between them? |  |  |  |
|  | - Do all staff members understand that in the event of a robbery they should never risk their lives to protect cash or other valuables? |  |  |  |
| Fire and Electrical Safety: | - Are fire extinguishers installed in all appropriate locations? |  |  |  |
|  | - Are smoke and heat detectors installed, at least one on each floor? |  |  |  |
|  | - Is a first aid kit present and maintained? |  |  |  |
|  | - Are all electrical devices, outlets, circuit breakers and cords free of damage that may pose a shock hazard? |  |  |  |
|  | - Are all electrical circuit, gas, and telephone boxes, if accessible from the outside, locked to prevent tampering? |  |  |  |
|  | - Do any non-employees have access from outside the building to any fire escapes, stairways, and/or the roof? |  |  |  |
|  | - Are all outdoor trash containers and storage bins located away from the building in the event of a fire? |  |  |  |